# Activity – 12936 (v4) Construct a non consent timber framed utility building as a BCATS project

Student name:

Calculate the listed materials required for the shed, the plans for which are found at the back of the student resource. Show your workings.

- Foundation 	Concrete (cubic m)

- Wall framing 	75 x 50mm 		H1.2  (allow for 5% waste)

- Rafters		100 x 50mm		H1.2  (allow for 5% waste)

- Plywood cladding 	2400 x 1200 x9mm 	H3.1 (allow for 5% waste)

- Roofing		Sheets (1m wide – effective coverage = 0.7630)

- Exterior joinery	Door - supplied by joiner

- Window - supplied by joiner

| Material | Amount required |
| --- | --- |

Complete the order form your teacher gives you.

When do you need to excavate for a foundation?

Why is it important for all elements of the foundation to be square and level?

What level of treated timber should you use for the following:

Timber in contact with the ground –

Interior framing not in contact with the ground –

Framing and cladding not in contact with the ground but exposed to the elements –

Which side of the plywood cladding should face the outside?

Why is it important to use heavy-duty fittings for exterior joinery?

Specifications

Door 			1900 x 800mm

Window		400 x0600m

Roofing			Galvanised corrugated

iron

Roof pitch 		5

Floor			Concrete slab

Exterior cladding	9mm plywood

DD treated 3.1

Underlay		Breather type

building paper

Framing/purlins		75 x 50mm